## Slide 1: CDC Licensing Workgroup
May 24, 2022

## Slide 2: Agenda
Overview
Deep Dive: Part IV of Proposed Standards for Licensed Child Day Centers (p. 34)
(Break)
Deep Dive: Part V of Proposed Standards for Licensed Child Day Centers (p. 45)
Next Steps

## Slide 3: Overview

## Slide 4: Overview
Today we will discuss revisions and additions to Part IV, Physical Plant and Part V, Staffing and Supervision
Revisions include new requirements to improve safety for children including:lead risk assessments, potable water lead testing, additional protections for children around hazardous substances and the use of electrical equipment and heating.
Additional revisions include incorporating requirements for carbon monoxide detectors required for licensed centers in the Code and revisions to the requirements for playground equipment and protective surfacing.
Clarification on supervision requirements added, including supervision by staff physically present in the room or area where children are being supervised.

## Slide 5: Overview Continued…
Technical edits, including renumbering and restructuring are included throughout for ease of reading and to clarify requirements.
New requirements are identified in this presentation. Text in red in the draft document identifies NEW requirements.

## Slide 6: Deep Dive: Part IV

## Slide 7: 8VAC20-781-290. Initial Approval from Other Agencies; Requirements Prior to Initial Licensure
Changes include the following :
Adds requirements for lead assessment prior to licensure for buildings built before 1978
  Includes specific requirements for the lead assessor.
  Requires a written lead risk assessment that states either (i) no lead was detected; ii) lead was detected and response actions to abate any risk to human health have been completed; or iii) lead was detected and response actions to abate any risk to human health have been recommended in accordance with a specified schedule.
  A notice must be posted if there is any lead found and the inspection report and plan must be available for review.

## Slide 8: 8VAC20-781-300. Annual and Renewal Approval from Other Agencies; Requirements Subsequent to Initial Licensure.
Changes include the following :
Adds requirements prior to renewal of license for those buildings built before 1978 where lead is detected and not removed:
  A signed, written statement that the center is following the recommendations of the management plan is required.
  A notice regarding the presence and location of lead advising that the lead inspection report and management plan are available for review must continue to be posted.

## Slide 9: 8VAC20-781-310. Potable Water; Lead Testing
Changes include the following :
Adds requirements for all potable water to be tested for lead:
  Required in the Code in § 22.1-289.057.
  The plan and the results of each test conducted must be submitted to and reviewed by the Superintendent’s representative and the Department of Health's Office of Drinking Water. We are still working out this process and will partner with VDH on implementation.
  If the results of any test indicate a level of lead in the potable water that is at or above 15 parts per billion, remediation is required and the water must be retested.
  Centers have the option to use bottled water, water coolers, or other similar water source that meets the U.S. Food and Drug Administration standards for bottled water instead of testing. Additional requirements apply.

## Slide 10: 8VAC20-781-320. Building Maintenance.
Changes include the following :
Adds additional language to clarify unsafe conditions:
  Adds tipping hazards; loose or unsecured cords within reach of children; sharp points, poisonous plants; tripping hazards; unstable heavy equipment, furniture.
  Hot water accessible to children shall not exceed 120°F.
  Electrical cords must be inaccessible to children preschool age and younger and not be spliced, deteriorated, or damaged.

## Slide 11: 8VAC20-781-320. Building Maintenance.
Changes include the following :
Adds additional language to clarify unsafe conditions and additional requirements for:
  Extension cords
  Electric space heaters
  Unvented fuel burning heaters are prohibited when children are in care
  Mechanical, electrical, or other hazardous equipment
Adds language to allow cell phones.

## Slide 12: 8VAC20-781-330. Hazardous Substances and Other Harmful Agents.
Changes include the following :
Adds additional hazardous substances to include:
  Hazardous, toxic and potentially hazardous substances and chemicals include substances such as cleaning products, pesticides, flammable and explosive materials, and hazardous substances labeled as “keep out of reach of children”, danger, caution, warning, flammable, harmful if swallowed, causes burns, harmful vapor, or poison. These items must be locked.
  Personal care items such as hand sanitizer, air freshener, shampoo, and toothpaste, stored in an area not used by groups of children including administrative offices and staff areas, are not required to be locked but must be inaccessible to children.
  Adds language to prohibit electronic smoking devices.
  Arts and crafts materials labeled ‘ keep out of reach of children’ do not have to be locked but ,must be inaccessible to children.

## Slide 13: 8VAC20-781-330. Hazardous Substances and Other Harmful Agents.
Changes include the following :
Adds items considered unsafe to children and required to be inaccessible for certain age groups:
  Empty plastic bags large enough for a child’s head to fit inside, disposable gloves, and rubber or latex balloons.
  Toys or items with removable parts with a diameter of less than 1-1/4 inch and a length of less than two inches.
  Strings and cords long enough to encircle a child’s neck, such as those found on window blinds or drapery cords.

## Slide 14: 8VAC20-781-330. Hazardous Substances and Other Harmful Agents.
Changes include the following :
Adds requirement for carbon monoxide detectors:
  Required in § 22.1-289.058 of the Code.
  All licensed child day centers using buildings built before 2015 for child care.
  Required for each building if multiple are used for programming.

## Slide 15: 8VAC20-781-340. General Physical Plant Requirements.
Changes include the following :
Incorporates physical plant requirements for preschool age or younger and school age.
Updates requirements for electrical outlets to allow tamper resistant outlets.

## Slide 16: 8VAC20-781-350. Areas
Changes include the following :
Clarification added for existing square footage requirement
  Requires 35 square feet of indoor wall-to-wall space available per child, age 16 months and older, for centers licensed after June 1, 2008, and any new additions after June 1, 2008.
  Current licensees that operate in buildings licensed prior to June 1, 2008 may continue to provide 25 square feet per child, toddler age and older.
  If ownership changes, the new licensee will be subject to the 35 square feet requirement.

## Slide 17: 8VAC20-781-360. Restroom Areas and Furnishings.
Changes include the following :
Adds requirement for platform steps used in restrooms to be anchored or broad based to prevent toppling, and have a non-slip surface.
Adds requirement for restrooms used by school age children to have a lined waste container.
Adds language to clarify that restrooms used by school age children at primitive camps are not required to be located within the building.

## Slide 18: 8VAC20-781-370. Indoor and Outdoor Play Areas and Equipment.
Changes include the following :
Adds clarifying language for playground equipment and protective surfacing.
  Indoor and outdoor playground and climbing equipment shall be age appropriate for the children using it.
  Existing requirements for protective surfacing apply to current licensees.
  Protective surfacing and use zone requirements simplified. Incorporates documents incorporated by reference into regulation text.
  After the effective date of the regulation, protective surfacing must comply with the most recent recommendations by the U.S. Consumer Product Safety Commission’s Public Playground Safety Handbook.

## Slide 19: 8VAC20-781-370. Indoor and Outdoor Play Areas and Equipment.
Changes include the following :
Adds requirements for equipment installed over asphalt or concrete
  Climbing equipment must be covered with a properly installed unitary surfacing material; or
  Covered with a loose-fill surfacing system (see Table 3).
Additional requirements for equipment added for multi-axis swings, slides, and inflatable equipment.

## Slide 20: Deep Dive: Part V

## Slide 21: 8VAC20-781-380. Supervision of Children.
Changes include the following:
Clarifies requirements for lead teacher to be on the premises and present with the group if off-site.
Adds that a lead teacher is not required in each grouping of children during short breaks, special activities
Adds that staff must be physically present in the room or area where children are being supervised and not separated from children by a physical barrier when supervising children.
Adds that staff shall maintain direct care and supervision of assigned children at all times.

## Slide 22: 8VAC20-781-390. Staff-to-Children Ratio and Group Size Requirements.
Changes include the following:
Technical change to move the policy and procedure required for consistent care to section for required policies and procedures.

## Slide 23: 8VAC20-781-400. Ratios and Group Size for Balanced-Mixed-Age Groupings
Changes include the following:
New section to separate ratio and group size requirements for balanced-mixed age groupings
Incorporates current requirements.

## Slide 24: 8VAC20-781-410. Ratios During Designated Rest Periods.
Changes include the following:
New section to separate rest time ratios
Incorporates current requirements
Adds a requirement for Staff to remain awake and alert to the needs of the children while supervising children.

## Slide 25: 8VAC20-781-420. Ratios and Supervision During Transportation and Field Trips.
Changes include the following:
New section to separate ratio and supervision requirements during transportation and field trips.
  Transportation safety requirements remain in the ‘Transportation and Field Trips’ section.
  Incorporates current requirements.

## Slide 26: Next Steps